## Sheet1
Annexure-B
Operation and Comprehensive Preventive Maintenance of Internal Electrification Works & 2 X 100 KVA & 1 X 50 KVA D.G. Sets & in the New Office of Mission Director, National Health Mission, Assam, Saikia Commercial Complex, Shree Nagar, Guwahati - 781005
SL. No. | Particulars | Tatal Quantity in each floor | [5 empty] | Total QuantitY | % of Qty. Consider for Replacement | Total Qty. | Unit | Rate in Rupees | Amount in Rupees
|  | 1st | 2nd (B) | 3rd | 4th | 5th (A) | 5th (B)
1 | Tube Light 1X40W | 70 | 55 | 62 | 45 | 4 | 15 | 251
2 | Decorative Mirror optic Luminaries |  |  |  | 15 | 14 |  | 29
3 | Electronics shock 1x40w | 70 | 55 | 62 | 45 | 4 | 15 | 251
4 | Recest type down lighter | 6 |  |  |  | 72 | 10 | 88
5 | Electronics Shock 2x11W |  |  |  | 40 |  |  | 40
6 | CFL BULB 1 X18w | 4 | 4 | 4 | 4 | 4 | 2 | 22
7 | CFL Round type (2X18W) |  |  |  | 40 |  |  | 40
8 | Electronics Shck 2x18W |  |  |  | 40 |  |  | 40
9 | Ceiling Fan | 12 | 4 |  |  |  | 5 | 21
10 | Wall Fan | 19 | 33 | 27 | 16 | 15 |  | 110
11 | Bearing for Ceiling Fan (Tata/SKK Make) | 12 | 4 |  |  |  | 5 | 21
12 | Rewinding of Field Coil of Ceiling Fan | 12 | 4 |  |  |  | 5 | 21
13 | Calling Bell | 3 | 3 | 3 | 3 | 10 | 3 | 25
14 | 5 AMP Switch (Anchor) |  |  |  |  | 17 | 35 | 52
15 | 5 AMP Socket (Anchor) |  |  |  |  | 5 | 16 | 21
16 | 6 AMP Switch (Anchor) | 240 | 250 | 253 | 178 | 190 | 10 | 1121
17 | 6 AMP Socket (Anchor) | 138 | 119 | 150 | 110 | 80 | 5 | 602
18 | 16 AMP Switch (Anchor) | 12 | 12 | 1 | 1 | 12 |  | 38
19 | 16 AMP Socket (Anchor) | 12 | 13 | 1 | 1 | 12 |  | 39
20 | MCB C - Series 6 to 32 AMPS | 12 | 12 | 12 | 12 | 12 | 20 | 80
21 | 4 POLE Isolator 63 AMPS | 3 | 3 | 3 | 3 | 3 | 3 | 18
22 | Multistand Copper Wire (ISI Marked) Havells/Finolex
a) | 1.5 Sq. MM
b) | 2.5 Sq. MM
c) | 4 Sq. MM
d) | 6 Sq. MM
e) | 10 Sq. MM
23 | Casing Caping With all Acessories
a) | 20 MM Size
b) | 25 MM Size
24 | PVC Gutka 1 & 1/2"
25 | Screw
a) | 1"
b) | 1/2"
26 | 4 Pair Internet / Telephone Cable
27 | 10 Pair Internet / Telephone Cable
28 | P.V.C. Board
a) | 4" X 4" | 2 | 2 | 2 | 3 | 4 | 0 | 13
b) | 6" X 8" | 65 | 60 | 71 | 41 | 40 | 5 | 282
29 | MCB DB 4 WAY SHEET STEEL | 3 | 3 | 3 | 3 | 3 | 3 | 18
30 | 3 Module Board (Crabtree) |  |  |  |  | 2 | 10 | 12
31 | 6 Module Board (Crabtree) | [5 empty] | 6 | 6
32 | 8 Module Board (Crabtree) |  |  |  |  | 1 | 5 | 6
33 | 10 Module Board (Crabtree) | [5 empty] | 2 | 2
34 | 12 Module Board (Crabtree) | [5 empty] | 3 | 3
MATERIAL COST
SERVICE MATERIAL COST FOR 1X50 KVA & 2X100 KVA DG SETS
LABOUR COST
TOTAL RS.
SAY RS.